##### CODE DESCRIPTIONS

Under/Aboveground Tank Product Codes		Aboveground Pipe Construction Codes

PREM		Premium unleaded				FRP		Fiberglass

MUL		Mid grade unleaded				FCS		Fiberglass coated steel

UL		Regular unleaded				CPS		Cathodically protected steel

DSL		Diesel						GV		Galvanized Steel

K1		Kerosene					COP		Copper

FO		Fuel Oil					Other		Describe

MO		Motor Oil					DW		If piping is DW add to above

WO		Waste Oil

Other		Refer to Site Schedule

###### Underground Tank Leak Detection Codes               		Underground Tank Construction Codes

ATG or AUTO	Automatic Tank Gauging			FRP		Fiberglass

INT		Interstitial Monitoring (double wall only)	FLS		Fiberglass lined steel

AGM		Automatic Groundwater Monitoring		FCS		Fiberglass coated steel

AVM		Automatic Vapor Monitoring			CPS		Cathodically protected steel

SIR		Statistical Inventory Reconciliation		STIP3		Steel Tank Institute

MIC		Manual Inventory Control			OTHER	Refer to Site Schedule

TTT or Test	Tank Tightness Testing			DW		DW added to any above

Aboveground Tank Leak Detection Codes		Underground Pipe Construction Codes

FRP		Fiberglass					FRP		Fiberglass

WS		Welded Steel					FCS		Fiberglass Coated Steel

BS		Bare Steel					CPS 		Cathodically Protected Steel

SS		Stainless Steel				DW FLX	DW flexible piping

PL		Plastic (PVC, ABS etc)

BI		Black Iron

EWS		Epoxy wrapped steel

###### Above Ground Tank Overfill Protection Codes 		Diking Construction Codes

AUTO		Automatic Shut off				CB		Concrete Block

ALARM	Audible/Visual Alarm				PC		Poured Concrete

OTHER	Describe					EARTH	Earthen

LINER		Mfg. Membrane Liner

OTHER	Describe

###### Aboveground tanks Internal and External Protection Codes

Internal -  EL 	Epoxy Lined			External – PNT	Painted

- Other  Refer to site schedule		   -  SAC	Sacrificial Anode

- IMP		Impressed Current

- Other 	Refer to site schedule

###### Pump Type

PRESS	Pressurized

SUC		Suction

###### Line Leak Detection Code

If pressurized :   ELLD	Electronic              MLLD	Mechanical

If Suction:	None